劣化特性を考慮した定置用蓄電池の複数市場への容量最適配分について

Optimal Capacity Allocation of Stationary Battery Energy Storage System for Multiple Electricity Markets Considering Battery Degradation

本研究は、劣化特性を考慮した定置用蓄電池の複数電力市場（スポット・需給調整・予備力等）への容量配分を最適化する。劣化をサイクル・深度に応じたコストとして定式化し、非線形項はピースワイズ線形化して混合整数計画として解く。実データに基づくケーススタディで、劣化無視モデルとの比較や感度分析を行い、収益最大化と寿命確保の両立に向けた配分・運用方法を示す。

This study optimizes the capacity allocation of stationary battery energy storage system for multiple electricity markets considering battery degradation (e.g., spot, balancing, and reserve), explicitly accounting for degradation characteristics. Degradation is modeled as a cost dependent on cycling and depth of discharge, and nonlinear terms are reformulated via piecewise linearization and solved as a mixed-integer program. Using case studies based on real data, we compare them against a non-degradation model and conduct sensitivity analyses. The results provide practical operations for jointly achieving revenue maximization and lifetime preservation.

定置用蓄電池

劣化モデル

複数電力市場

容量配分最適化

混合整数計画（MIP）

ピースワイズ線形化

Stationary battery energy storage system (BESS)

Degradation modeling

Multi-market participation

Optimal capacity allocation

Mixed-integer programming (MIP)

Piecewise linearization